## Sheet1
ITC - CHENNAI
Work Plan History
Report Generated by : Monisha Rajendran
Report Duration : 01/08/2017 to 21/06/2018
DateTime | Frequency | Status | TagID | Equipment | Parameter | LTV | HTV | CV | UOM | Comments | CompletedBy | Attachment
04/10/2017 04:59:38 | Weekly | R | TDS01 | Generator | Secondary Settling Tank- TDS | 0 | 10 |  | ppm | COMPLETED | Subramani Nallasivam
04/10/2017 06:09:14 | Weekly | R | EFR01 | Generator | Effluent - flow rate | 2 | 10 |  | LPD |  | Ganesh Raghavendran
04/10/2017 06:11:25 | Weekly | R | PG01-DG | diesel generator | Power Generation | 0 | 10 |  | KWHr |  | Subramani Nallasivam
05/10/2017 04:36:53 | Weekly | R | TM01BT | Boiler test | Thermax Maxgreen-3007 | 20 | 50 |  | kg |  | Subramani Nallasivam
05/10/2017 04:36:54 | Weekly | R | TM02BT | Boiler test | Thermax Maxtreat-3221 | 0 | 10 |  | kg |  | Subramani Nallasivam
05/10/2017 06:26:02 | Weekly | R | RANDOM.INT1 | Boiler test | Maxgreen-3221 | 50 | 100 |  | kg |  | Ganesh Raghavendran
05/10/2017 09:20:30 | Daily | R | CT01 | Generator | Collection Tank - pH | 0 | 10 |  | pH |  | Ramesh Rajasekeran
05/10/2017 09:20:32 | Weekly | R | ST01 | diesel generator | Start time | 500 | 1000 |  | Hours |  | Ramesh Rajasekeran
05/10/2017 09:20:33 | Quarterly | R | RS01BT | Boiler test | Run status | 5 | 10 |  | On/Off |  | Ramesh Rajasekeran
05/10/2017 09:20:34 | Weekly | R | RS01OS | oil stock indicator | Run status | 5 | 10 |  | On/Off |  | Ramesh Rajasekeran
05/10/2017 09:20:37 | Weekly | R | GS01OS | oil stock indicator | Gear Oil -320 | 40 | 100 |  | litres |  | Ramesh Rajasekeran
07/10/2017 06:47:03 | Monthly | G | RSP01 | diesel generator | Run status | 0 | 10 | 1 | On/Off |  | Ramesh Rajasekeran
07/10/2017 06:47:26 | Daily | G | CT01 | Generator | Collection Tank - pH | 0 | 10 | 5 | pH | comlpleted | Ramesh Rajasekeran
07/10/2017 06:48:03 | Weekly | R | OL01UT | Utility-01 | Oil Level | 500 | 100 | 555 | % |  | Ramesh Rajasekeran
07/10/2017 06:48:07 | Weekly |  | CP01UT | Utility-01 | Comp Air O/L Temperature | 5 | 10 | 3 | Deg C |  | Ramesh Rajasekeran
07/10/2017 06:48:10 | Monthly | R | CP02UT | Utility-01 | Comp Air O/L Pressure | 20 | 50 | 0 | Kg/cm2 |  | Ramesh Rajasekeran
07/10/2017 09:11:47 | Monthly | R | CP02UT | Utility-01 | Comp Air O/L Pressure | 20 | 50 | 0 | Kg/cm2 | completed | chella p